# Systems Based Automation Control Technology Mississippi Curriculum Framework

CIP: 15.0406 Systems Based Automation Control

April 2024

Published by:

Mississippi Community College Board

Division of Workforce, Career, and Technical Education

3825 Ridgewood Road

Jackson, MS 39211

Phone: 601-432-6155

Email: Curriculum Email

Faculty Writing Team Members

Ben Harris, East Mississippi Community College

Brett Butler, East Mississippi Community College

Aaron Cleveland, Mississippi Gulf Coast Community College

Charles Hardt, Mississippi Gulf Coast Community College

Jordan Robinson, East Central Community College

John Everett, East Central Community College

Administrator Writing Team Members

Trish Corrigan, Associate Dean of Career and Technical Education, East Mississippi Community College

Bobby Ghosal, Assistant Dean of CTE, Mississippi Gulf Coast Community College

Millie Bordelon, Associate VP of Community Campus and CTE, Mississippi Gulf Coast Community College

Cody Spence, Director of Career & Technical Education, East Central Community College

Business and Industry Contributing Team Members

Chris Rogers- International Paper, Columbus, MS

Luke Bozeman- PACCAR, Mayhew, MS

Conner McKee- Steel Dynamics Inc., Columbus, MS

Matt Darling- Steel Dynamics Inc., Columbus, MS

Byron McNair- Steel Dynamics Inc., Columbus, MS

Jason Harlow- Yokohama Tire, West Point, MS

Office of Curriculum and Instruction Team Members

Dr. Scott Kolle, Director of Curriculum and Instruction, Mississippi Community College Board

Eboni Mangum, Curriculum Specialist, Mississippi Community College Board

Demarius Tolliver, Curriculum Specialist, Mississippi Community College Board

Dr. LaToya Sterling, Assistant Director for Training and Professional Development, Mississippi Community College Board

The Office of Curriculum and Instruction (OCI) was founded in 2013 under the Division of Workforce, Career, and Technical Education at the Mississippi Community College Board (MCCB). The office is funded through a partnership with The Mississippi Department of Education (MDE), who serves as Mississippi’s fiscal agent for state and federal Career and Technical Education (CTE) Funds. The OCI is tasked with developing statewide CTE curriculum, programming, and professional development designed to meet the local and statewide economic demand.

Copyright© 2025 by Mississippi Community College Board.

For information, please contact Curriculum Email

Contents

Adoption of National Certification Standards	4

Industry Job Projection Data	5

Articulation	5

Industry Credentials, Certifications, And Professional Licensure	5

Dual Enrollment	5

Research Abstract	6

Revision History:	6

Program Description	7

Suggested Course Sequence Systems Based Automation and Control	8

Accelerated Integrated Career Pathway Systems Based Automation and Control	8

Career Certificate Required Courses Systems Based Automation and Control	8

Technical Certificate Required Courses Systems Based Automation and Control	9

Course Listing Systems Based Automation and Control	10

General Education Core Courses	11

Systems Based Automation and Control Technology Courses	12

SBA 1113 (or SBE 2353) Solid State Motor Controls Systems	13

SBA 1123	Fluid Power	14

SBA 1133	Power Distribution	15

SBA 1144 (or IMM 1934) Manufacturing Skills Basic	16

SBA 1163	Motor Controls Systems	18

SBA 1173 (or SBE 2363)	Programmable Logic Controllers	                                   19

SBA 1213	Capstone for Systems Based Automation	20

SBA 1223	Robotics & Automation	21

SBA 1283 (or IET 1113) Industrial Instrumentation	22

SBA 1313 (or SBE 1113 and SBE 1123) AC/DC Circuit	23

SBA 1413	Systems Based Digital and Solid State Devices	24

SBA 1513	Wiring for Systems Based Automation	25

SBA 2113	Advanced Programmable Logic Controllers/Data Acquisition	26

SBA 2123 (or IET 1313) Advanced Instrumentation and Process Controls	27

SBA 213(1-4)	Special Project in System Based Automation	28

Appendix A: Recommended Tools and Equipment	29

Appendix B: Curriculum Definitions and Terms	31

Appendix C: Course Crosswalk	33

Appendix D: Recommended Textbooks	35

# Adoption of National Certification Standards

The Electronics Technicians Association, International (ETA® International) was created in 1978. The association was established to represent the electronics industry, from the technician and educator to the corporate institution. For assessment purposes, ETA provides third-party assessment through its own certification programs in an effort to verify that fellow electronic technicians have sufficient training in industry standards, including troubleshooting techniques, knowledge of test equipment, and installation procedures. Covering more than 80 certification programs in a variety of technology fields, over 150,000 technical certifications has been issued by ETA.

Permission was granted by the Electronics Technicians Association, International to include the competencies and objectives in this curriculum. More information related to these standards can be found at the following website:

Electronics Technicians Association Competencies

# Industry Job Projection Data

A summary of occupational data is available from the Mississippi Department of Employment Security.

MDES Labor Market Information

# Articulation

Check with the local community college CTE administration for articulation agreements.

# Industry Credentials, Certifications, And Professional Licensure

As curricula are revised or developed for Career Technical Education (for credit) programs at Mississippi’s community colleges, appropriate industry credentials/certifications/professional licensure are identified (where applicable).

Each community college cooperating with businesses/industries in their college district determines if and when industry credentials/certifications/professional licensure are warranted.

Contact each community college for more information.

# Dual Enrollment

See the “Procedures Manual for Dual Enrollment and Accelerated Programs”

Dual Enrollment

# Research Abstract

In the spring of 2024, the Office of Curriculum and Instruction (OCI) met with the different industry members who made up the advisory committees for the System Based Automation Control program. A follow-up webinar was held in October 2018 in an effort to receive additional information from the administrators, faculty, and industry members.

Industry advisory team members from the college involved with this program were asked to give input related to changes to be made to the curriculum framework.

# Revision History:

2018 Mississippi Community College Board

2025 Mississippi Community College Board

# Program Description

Systems Based Automation and Control Technology

Systems Based Automation and Control Technology is a program that prepares individuals to apply technical skills needed for support of the advanced manufacturing industry. This program focuses on electrical, electronic, hydraulic and pneumatic control systems, robotics, instrumentation, and automated processes.

This curriculum is designed as a one- year career certificate, technical certificate and a two-year technical program. Students who graduate from the program will be better prepared to seek employment in the advanced manufacturing industry.

# Suggested Course Sequence Systems Based Automation and Control

## Accelerated Integrated Career Pathway Systems Based Automation and Control

| Course Number | Course Name | Semester Credit Hours | SCH Breakdown Lecture | SCH Breakdown Lab | Total Contact Hours | Program Certifications |
| --- | --- | --- | --- | --- | --- | --- |
| SBA 1313 (or SBE 1113 and 1123) | AC/DC Circuits | 3 | 2 | 2 | 60 | Electronics Technicians Association, International (ETA International) |
| SBA 1144 (or IMM 1934) | Manufacturing Skills Basic | 4 | 3 | 2 | 75 | - |
| - | Instructor Approved Electives per local community college | 8 | - | - | - | - |
| - | TOTAL | 15 | - | - | - | - |

## Career Certificate Required Courses Systems Based Automation and Control

| Course Number | Course Name | Semester Credit Hours | SCH Breakdown Lecture | SCH Breakdown Lab | Total Contact Hours | Program Certifications |
| --- | --- | --- | --- | --- | --- | --- |
| SBA 1313 (or SBE 1113 and 1123) | AC/DC Circuits | 3 | 2 | 2 | 60 | Electronics Technicians Association, International (ETA International) |
| SBA 1144 (or IMM 1934) | Manufacturing Skills Basic | 4 | 3 | 2 | 75 | - |
| SBA 1123 | Fluid Power | 3 | 2 | 2 | 60 | - |
| SBA 1133 | Power Distribution | 3 | 2 | 2 | 60 | - |
| SBA 1163 | Motor Controls Systems | 3 | 2 | 2 | 60 | - |
| SBA 1173 or SBE 2363 | Programmable Logic Controllers | 3 | 2 | 2 | 60 | - |
| SBA 1283(or IET1113) | Industrial Instrumentation or Industrial Measurement of Pressure and Level | 3 | 2 | 2 | 60 | - |
| - | Instructor Approved Elective per local community college | 8 | - | - | - | - |
| - | TOTAL | 30 | - | - | - | - |

## Technical Certificate Required Courses Systems Based Automation and Control

| Course Number | Course Name | Semester Credit Hours | SCH Breakdown Lecture | SCH Breakdown Lab | Total Contact Hours | Program Certifications |
| --- | --- | --- | --- | --- | --- | --- |
| SBA 1113 (or SBE 2353) | Solid State Motor Controls Systems | 3 | 2 | 2 | 60 | Electronics Technicians Association, International (ETA International) |
| SBA 2113 | Advanced Programmable Logic Controllers/ Data Acquisition | 3 | 2 | 2 | 60 | - |
| SBA 2123 (or IET 1313) | Advanced Instrumentation and Process Controls OR Industrial Controls I | 3 | 2 | 2 | 60 | - |
| - | Instructor Approved Electives per local community college | 6 | - | - | - | - |
| - | TOTAL | 15 | - | - | - | - |

## Course Listing Systems Based Automation and Control

| Course Number | Course Name | Semester Credit Hours | SCH Breakdown Lecture | SCH Breakdown Lab | Total Contact Hours | Program Certification |
| --- | --- | --- | --- | --- | --- | --- |
| SBA 1113 (or SBE 2353) | Solid State Motor Controls Systems | 3 | 2 | 2 | 60 | - |
| SBA 1123 | Fluid Power | 3 | 2 | 2 | 60 | - |
| SBA 1133 | Power Distribution | 3 | 2 | 2 | 60 | - |
| SBA 1144 or IMM 1934 | Manufacturing Skills Basic | 4 | 3 | 2 | 75 | - |
| SBA 1163 | Motor Controls Systems | 3 | 2 | 2 | 60 | - |
| SBA 1173 (or SBE 2363) | Programmable Logic Controllers | 3 | 2 | 2 | 60 | - |
| SBA 1213 | Capstone for Systems Based Automation | 3 | 2 | 2 | 60 | - |
| SBA 1223 | Robotics & Automation | 3 | 2 | 2 | 60 | - |
| SBA 1283 (or IET 1113) | Industrial Instrumentation (or Industrial Measurement of Pressure and Level) | 3 | 2 | 2 | 60 | - |
| SBA 1313 (or SBE 1113 and 1123) | AC/DC Circuits | 3 | 2 | 2 | 60 | - |
| SBA 1413 | System Based Digital and Solid State Devices | 3 | 2 | 2 | 60 | - |
| SBA 1513 | Wiring for System Based Automation | 3 | 2 | 2 | 60 | - |
| SBA 2113 | Advanced Programmable Logic Controllers/ Data Acquisition | 3 | 2 | 2 | 60 | - |
| SBA 2123 (or IET 1313) | Advanced Instrumentation and Process Controls (or Industrial Controls I) | 3 | 2 | 2 | 60 | - |
| SBA 2131-4 | Special Project in System Based Automation | 1-4 | 0-3 | 2 | 30-75 | - |
| PPT 1513 | Safety Health & Environment | 3 | 3 | 0 | 45 | - |
| MNT 2133 | Mechatronics Troubleshooting and Repair | 3 | 1 | 4 | 75 | - |
| MNT 2344 | CNC/Computer Assisted Manufacturing | 4 | 2 | 4 | 90 | - |
| MNT 2364 | Industry 4.0 with Data Acquisition | 4 | 2 | 4 | 90 | - |
| IET 2113 | Final Control Devices | 3 | 2 | 2 | 60 | - |
| IET 2433 | Installation Practices | 3 | 1 | 4 | 75 | - |
| IET 2453 | Troubleshooting and Calibrations | 3 | 1 | 4 | 75 | - |
| SBE 1213 | Digital Electronics | 3 | 2 | 2 | 60 | - |
| SBE 1223 | Test and Measurement Fundamentals | 3 | 2 | 2 | 60 | - |
| - | Other Instructor Approved Electives per local community college | - | - | - | - | - |

# General Education Core Courses

To receive the Associate of Applied Science degree, a student must complete all of the required coursework found in the Career Certificate option, Technical certificate option, and a minimum of 15 semester hours of General Education core. The courses in the General Education Core may be spaced out over the entire length of the program so that students complete some academic and Career Technical courses each semester or provided primarily within the last semester. Each community college will specify the actual courses that are required to meet the General Education Core Requirements for the Associate of Applied Science degree at their college. The Southern Association of Colleges and Schools Commission on Colleges (SACSCOC) Section 9 Standard 3 of the Principles of Accreditation: Foundations for Quality Enhancement describes the general education core.

Section 9 Standard 3:

- The institution requires the successful completion of a general education component at the undergraduate level that

  - is based on a coherent rationale.

  - is a substantial component of each undergraduate degree program. For degree completion in associate programs, the component constitutes a minimum of 15 semester hours of the equivalent; for baccalaureate programs, a minimum of 30 semester hours or the equivalent.

  - ensures breadth of knowledge. These credit hours include at least one course from each of the following areas: humanities/fine arts, social/behavioral sciences, and natural science/mathematics. These courses do not narrowly focus on those skills, techniques, and procedures specific to a particular occupation or profession.

General Education Courses

| Course Number | Course Name | Semester Credit Hours | SCH Breakdown Lecture | SCH Breakdown Lab | Total Contact Hours | Contact Hour Breakdown Lecture | Contact Hour Breakdown Lab | Certification Information |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - | Humanities/Fine Arts | 3 | - | - | - | - | - | - |
| - | Social/Behavioral Sciences | 3 | - | - | - | - | - | - |
| - | Math/Science | 3 | - | - | - | - | - | - |
| - | Academic electives | 6 | - | - | - | - | - | - |
| - | TOTAL | 15 | - | - | - | - | - | - |

# Systems Based Automation and Control Technology Courses

The additional classes used to create this curriculum document can be found in the following documents on the Mississippi Community College Board website: MCCB Curriculum

- Instrumentation and Controls Technology with Systems Based Electronics (CIP: 15.0404)

- Mechatronics Engineering Technology (CIP: 14.1901)

- Process Operations Technology Mississippi (CIP: 15.0699)

| Course Number and Name: | ## SBA 1113 (or SBE 2353) Solid State Motor Controls Systems |
| --- | --- |

Description:	Principles and operation of solid state motor control as well as the design, installation, and maintenance of different solid state devices for motor control.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Demonstrate attitude and behavior required for safe & environmentally sound work habits

- Demonstrate theory of operation of field devices used in control circuits ETA 53

- Demonstrate knowledge of basic digital logic principles as used in motor controllers

- Demonstrate theory of operation of variable frequency drives

- Connect and Operate AC and DC variable speed drives

- Troubleshoot basic motor control circuits

- Demonstrate theory of operation and ability to wire 3 phase AC induction motors

- Demonstrate the ability to network a drive

- Discuss theory of servo positioning and speed control

- Discuss solid state motor protection

Electronics Technicians Association, International

ETA 53

| Course Number and Name: | ## SBA 1123 Fluid Power |
| --- | --- |

Description:	This course provides instruction in hydraulics and pneumatics. This course covers actuators, accumulators, valves, pumps, motors, coolers, compression of air, control devices, and circuit diagram. Emphasis is placed on the development of control circuits and troubleshooting techniques.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Explain and apply basic safety regulations which must be followed

- Discuss principles as they apply for fluid power

- Identify symbols, connect and troubleshoot components for fluid power

- Design and install a fluid power system to meet given specifications

- Describe and analyze the operation of pumps and compressors

- Describe, connect, and troubleshoot the operation of fluid power valves

- Describe, connect and troubleshoot fluid power actuators

- Demonstrate, construct, and troubleshoot electro-mechanical controls in fluid power circuits

| Course Number and Name: | ## SBA 1133 Power Distribution |
| --- | --- |

Description:	This course provides information on single and three phase circuits. This includes connecting and calculating values.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Explain and apply basic safety regulations

- Apply basic knowledge of single phase components. ETA 14, 28, 39

- Apply basic knowledge of three phase components

Electronics Technicians Association, International

ETA 14, 28, 39

| Course Number and Name: | ## SBA 1144 (or IMM 1934) Manufacturing Skills Basic |
| --- | --- |

Description:	Manufacturing Skills Basic is the initial course designed to provide the student with the basic skills needed to be successful in a high-performance manufacturing environment. The course covers 5 major areas of knowledge that are considered critical for employment in a high-performance manufacturing company. The topics covered include: Basic Computer Literacy, Blueprint Reading, Precision Measurement, and an introduction to manufacturing improvement methods that covers Lean Manufacturing, Quick Changeover, 5S, Teamwork and Problem-solving.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 4 | 3 | 2 | 75 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Apply skills needed to read industrial blueprints

  - Read an orthographic drawing

  - Read various different types of drawings used in manufacturing such as isometric, auxiliary and sectional views

  - Determine dimensions from various mechanical drawings

  - Demonstrate the ability to recognize symbols used in different types of drawings

- Apply precision measurement skills

  - Recognize precision measuring instruments

  - Demonstrate the proper use and care of precision measuring instruments

  - Demonstrate the ability to measure accurately with English measurement scales

  - Demonstrate the ability to measure accurately with metric measurement scales

  - Apply precision measurement devices in simulated job tasks

- Apply techniques used in high-performance manufacturing

  - Demonstrate Teamwork and problem-solving skills

  - Describe High-Performance manufacturing procedures to include:

    - Lean manufacturing

    - 5S

    - SMED

    - Identifying customers and their needs

    - Quality control

    - Understanding of ISO

    - Value stream mapping

  - Research and present a manufacturing topic

- Apply basic interviewing skills

  - Perform interviewing skills

  - Create a resume for a job interview

- Perform basic computer literacy skills

  - Run a program from the desktop and the Start Menu

  - Demonstrate how to operate a browser

  - Demonstrate entering a website by entering the URL

  - Demonstrate how to save a website URL as a favorite or bookmark

  - Demonstrate how to use a search engine

  - Establish and use an email account

  - Demonstrate how to create and save a word processing file

  - Create and save a spreadsheet file

  - Demonstrate send, receive, save and open an attachment using an email account.

| Course Number and Name: | ## SBA 1163 Motor Controls Systems |
| --- | --- |

Description:	This course covers installation of different motor control circuits and devices. Emphasis is placed on developing the student’s ability to diagram, wire, and troubleshoot the different circuits and mechanical control devices.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Explain and apply basic safety regulations which must be followed ETA 1

- Install different control circuits and devices ETA 13, 42, 43, 55, 60, 70, 72

- Troubleshoot different control circuits and devices ETA 40, 59, 71, 73

- Install and troubleshoot overload devices

Electronics Technicians Association, International

ETA 1, 13, 40, 42, 43, 55, 59, 60, 70, 71, 72, 73

| Course Number and Name: | ## SBA 1173 (or SBE 2363) Programmable Logic Controllers |
| --- | --- |

Description:	Principles and operation of Programmable Logic Controllers (PLCs) in modern industrial settings as well as the operating principles of PLCs and practice in the programming, installation, and maintenance of PLCs.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Demonstrate ladder logic programming ETA 35, 41, 44, 45, 46, 50, 58, 68

- Demonstrate operation of field devices that are used in Control Circuits

- Understand theory of operation of field devices ETA 38

- Demonstrate knowledge of basic digital logic principles ETA 16, 26, 27, 30, 31, 32, 33, 34, 51, 52

- Troubleshoot PLC Control Circuits

- Demonstrate attitude and behavior required for safe & environmentally sound work habits ETA 10

- Connect and Operate Programmable Logic Controller ETA 36, 37

Electronics Technicians Association, International

ETA 10, 16, 26, 27, 30, 31, 32, 33, 34, 35, 36, 37, 38, 41, 44, 45, 46, 50, 51, 52, 68

| Course Number and Name: | ## SBA 1213 Capstone for Systems Based Automation |
| --- | --- |

Description:	This course allows practical application of all skills and knowledge. The instructor works closely with student to ensure that the selection of the project will enhance the student’s learning experience.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Develop a plan for systems based automation project

- Implement a plan for a systems based automation project

| Course Number and Name: | ## SBA 1223 Robotics & Automation |
| --- | --- |

Description:	This course includes a history of automation as well as identifying components of a robot. Includes programming and troubleshooting of the robot system.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Explain and apply basic safety regulations which must be followed

- Describe and identify major components of associated with robotic applications ETA 69

- Demonstrate the ability to program a robot process

- Demonstrate the ability to troubleshoot and maintain robotic equipment

- Describe and discuss the application of end effectors

Electronics Technicians Association, International

ETA 69

| Course Number and Name: | ## SBA 1283 (or IET 1113) Industrial Instrumentation |
| --- | --- |

Description:	A study of the concepts, principles and devices for the measurement of industrial pressure, level, temperature and flow variables. The student will learn to apply the principles of process instruments and devices as applied to control and detection of variables. The student will perform industrial pressure, level, temperature and flow measurements.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Demonstrate attitude and behavior required for safe & environmentally sound work habits

- Calculate and convert pressure, level, temperature, and flow measurements

- Describe the necessity for measurements in industry

- Install and troubleshoot temperature and flow sensing devices. ETA 54

- Install and troubleshoot pressure and level sensing devices

- Perform measurements of pressure, temperature, level and flow

- Describe and demonstrate a knowledge of analytical measured process variables

- Identify the requirements of instrument air systems

- Demonstrate the ability to understand and interpret P&ID drawings

- Identify common signals, calibration, wiring, shielding

Electronics Technicians Association, International

ETA 54

| Course Number and Name: | ## SBA 1313 (or SBE 1113 and SBE 1123) AC/DC Circuit |
| --- | --- |

Description:	Principles and theories with AC/DC and AC circuits used in the automation trade. Includes the study of electronic circuits. Laws and formulas, and the use of test equipment to analyze AC and DC circuits.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Explain and apply basic safety regulations which must be followed ETA 1-8

- Define basic electronics terms as they apply to DC and AC circuits ETA 15, 56, 57, 75

- Demonstrate the ability to measure values in DC and AC Circuits using various metering devices ETA 24, 48, 66

- Demonstrate and apply understanding of a basic DC and AC electronic circuits ETA 18, 64, 74

- Analyze and evaluate parameters of series, parallel, and series parallel circuits ETA 17, 19, 20, 21, 22, 25, 47, 61, 62, 63, 65, 67

- Analyze inductance and capacitance in DC and AC series and parallel circuits ETA 9, 23, 29,49

Electronics Technicians Association, International

ETA 1-8, 9, 15, 17, 18, 19, 20, 21, 22, 23, 24, 25, 29, 47, 48, 49, 56, 57, 61, 62, 63, 64, 65, 66, 67, 74, 75

| Course Number and Name: | ## SBA 1413 Systems Based Digital and Solid State Devices |
| --- | --- |

Description:	Numbering systems, logic gates as used in the automation industry. Also includes diodes, transistors and thyristors.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

  - Explain and apply basic safety regulations which must be followed

  - Perform mathematical operations in various numbering systems with use of a calculator

  - Analyze logic circuits

  - Explain diode theory and apply it to diode and rectifier circuits ETA 12

  - Demonstrate an understanding of the use and operation of transistors

  - Demonstrate an understanding of the operation of thyristors

  - Describe and demonstrate test procedures to diagnose failed solid state components

Electronics Technicians Association, International

ETA 12

| Course Number and Name: | ## SBA 1513 Wiring for Systems Based Automation |
| --- | --- |

Description:	This course provides instruction and practice in the installation of industrial electrical services. This course includes types of conduit and other raceways, National Electrical Code, and three phase power distribution networks.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Explain and apply basic safety regulations which must be followed

- Demonstrate basic conduit bends

- Calculate box and conduit fill for given conditions

- Identify NEC requirements for proper conductor selection ETA 11

- Perform termination of various components

- Install three phase service entrances, feeder circuits, and branch circuits per NEC for a specified system

Electronics Technicians Association, International

ETA 11

| Course Number and Name: | ## SBA 2113 Advanced Programmable Logic Controllers/Data Acquisition |
| --- | --- |

Description:	This is an advanced PLC course that provides instruction in the various operations and installations of advanced electrical control systems utilizing programmable logic controllers. This will include areas such as sequencer control, introduction to Human Machine Interfaces, along with Data Acquisition and networking.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor approved

Student Learning Outcomes:

- Program all types of high order instructions

- Troubleshoot advanced PLC controls

- Explain data communication components used in automatic systems

- Use data communication software, PLC and a computer to connect a network

- Use computers, sensors, and controllers for data acquisition

- Explain the importance of proper termination of communication media such as cables.

| Course Number and Name: | ## SBA 2123 (or IET 1313) Advanced Instrumentation and Process Controls |
| --- | --- |

Description:	A study of process controllers, implementing PID (Proportional, Integral, Derivative) feedback, cascade, ratio, feed forward and auto select/override and introduce other advanced control strategies; study techniques for loop tuning and calibrating process loop components including smart transmitters using field communicators. Use of Loop documentation and drawings.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 3 | 2 | 2 | 60 |

Prerequisite:	Instructor Approved

Student Learning Outcomes:

- Demonstrate hookup, communication protocol, calibration and run diagnostics, on I/P, press XMTR with hart

- Demonstrate and troubleshoot PID open loop process control system

- Demonstrate and troubleshoot closed loop process control system

- Calibrate process loop components

- Demonstrate and trouble shoot loop tuning techniques to stabilize a process operation

- Demonstrate knowledge of the basics of PLC and distributed control system

- Calibrate process with pressure module

- Demonstrate attitude and behavior required for safe & environmentally sound work habits.

| Course Number and Name: | ## SBA 213(1-4) Special Project in System Based Automation |
| --- | --- |

Description:	This course allows practical application of all skills and knowledge. The instructor works closely with student to ensure that the selection of the project will enhance the student’s learning experience.

| Hour Breakdown: | Semester Credit Hours | Lecture | Lab | Contact Hours |
| --- | --- | --- | --- | --- |
|  | 1 | 0 | 2 | 30 |
|  | 2 | 1 | 2 | 60 |
|  | 3 | 2 | 2 | 60 |
|  | 4 | 3 | 2 | 75 |

Prerequisite:	Instructor Approved

Student Learning Outcomes:

- Develop a plan for systems based automation project

- Implement a plan for a systems based automation project

# Appendix A: Recommended Tools and Equipment

Capitalized Items

- Analysis trainer (1)

- Calibration stations (1 per 2 students)

- Camera, video, with accessories (2)

- Computer, notebook (for programming controls) (1)

- Computer process control hardware (1)

- Computer systems (1 per 2 students)

- Conveyor system (1)

- Dead weight tester (1)

- Drill press, pedestal (1)

- Educational grade robots (minimum $10,000), with end effectors (1)

- Electromechanical trainers (1 per 3 students)

- Flow process trainer (1)

- Fluid power training lab trainer (1)

- Hydraulic test kit (1)

- MegaMeter (1 per 3 students)

- Mechanical training lab trainer (1)

- Meter, noise dosimeter (1)

- Oscilloscopes (50 Mhz dual trace) (1 per 2 students)

- Portable calibrators (2)

- Programmable logic controller trainers with software licenses (1 per 2 students)

- PLC simulation software

- Robotic arm with computer software (1)

- Robot system (SCARA type) (1)

- Robot arm (fully articulated with computer software and programming station) (1)

- Robot (welding with 4-9 axes) (1)

- Special end effectors of robots (1 per robot)

- Temperature process trainer (1)

- Industrial grade robots (minimum $60,000), with end effectors (1)

- Industrial pneumatics training system (1)

- Motor Control Station

- HART Communicator/Calibrator

- Human machine interface

- Industrial networking equipment

Non-Capitalized Items

- Air compressor (5 hp) (1)

- Automatic tool change system (1)

- Automatic storage and retrieval system (1)

- Basic hand tools: Pliers, wire strippers, wrenches, screwdrivers, needle-nose pliers, ruler, safety glasses (20 each)

- Caliper (2)

- Current measuring devices (1 per 2 students)

- Digital volt-ohm-meters (1)

- Gage, electric readout force with cable (1)

- Gage, digametic height (1)

- Gage, set radius (1)

- Precision measuring equipment

- Networked laser printers (1)

- Level process trainer (1)

- Meter, air velocity (1)

- Meter, sound octave bans analyzer (1)

- Meter, sound level calibration (1)

- Power tools (1/2" and 3/8" drill motors) (1 each)

- Pressure gage repair kits (1)

- Pressure process trainer (1)

- Rotary actuators with powered slides systems (1)

- Safety goggles

- Safety devices, i.e., light curtain safety mats (1 per work station)

- Tachometers (3)

- Temperature meters (3)

- Tester, datacom (1)

- Tester, checker precision cable LE (1)

- Vacuum, shop cleaner (1)

- Vision system (1)

- Vision system for CIM cell (1)

- Variable Frequency Drive (Soft start)

- Routers

- Switches

- Micrometers

“Other equipment items can be added when deemed appropriate by the community college industry craft committee or by industry/business training requirements.”

Recommended Instructional Aids

# Appendix B: Curriculum Definitions and Terms

  - Course Name – A common name that will be used by all community colleges in reporting students

  - Course Abbreviation – A common abbreviation that will be used by all community and junior colleges in reporting students

  - Classification – Courses may be classified as the following:

    - Career Certificate Required Course – A required course for all students completing a career certificate.

    - Technical Certificate Required Course – A required course for all students completing a technical certificate.

    - Technical Elective – Elective courses that are available for colleges to offer to students.

  - Description – A short narrative that includes the major purpose(s) of the course

  - Prerequisites – A listing of any courses that must be taken prior to or on enrollment in the course

  - Corequisites – A listing of courses that may be taken while enrolled in the course

  - Student Learning Outcomes – A listing of the student outcomes (major concepts and performances) that will enable students to demonstrate mastery of these competencies

The following guidelines were used in developing the program(s) in this document and should be considered in compiling and revising course syllabi and daily lesson plans at the local level:

  - The content of the courses in this document reflects approximately 75% of the time allocated to each course. The remaining 25% of each course should be developed at the local district level and may reflect the following:

    - Additional competencies and objectives within the course related to topics not found in the state framework, including activities related to specific needs of industries in the community college district

    - Activities that develop a higher level of mastery on the existing competencies and suggested objectives

    - Activities and instruction related to new technologies and concepts that were not prevalent at the time the current framework was developed or revised

    - Activities that include integration of academic and career–technical skills and course work, school-to-work transition activities, and articulation of secondary and postsecondary career– technical programs

    - Individualized learning activities, including work-site learning activities, to better prepare individuals in the courses for their chosen occupational areas

  - Sequencing of the course within a program is left to the discretion of the local college. Naturally, foundation courses related to topics such as safety, tool and equipment usage, and other fundamental skills should be taught first. Other courses related to specific skill areas and related academics, however, may be sequenced to take advantage of seasonal and climatic conditions, resources located outside of the school, and other factors. Programs that offer an Associate of Applied Science Degree must include all of the required Career Certificate courses, Technical Certificate courses AND a minimum of 15 semester hours of General Education Core Courses. The courses in the General Education Core may be spaced out over the entire length of the program so that students complete some academic and Career Technical courses each semester. Each community college specifies the actual courses that are required to meet the General Education Core Requirements for the Associate of Applied Science Degree at their college.

  - In order to provide flexibility within the districts, individual courses within a framework may be customized by doing the following:

    - Adding new student learning outcomes to complement the existing competencies and suggested objectives in the program framework

    - Revising or extending the student learning outcomes

    - Adjusting the semester credit hours of a course to be up 1 hour or down 1 hour (after informing the Mississippi Community College Board [MCCB] of the change)

# Appendix C: Course Crosswalk

Course Crosswalk

Systems Based Automation Control CIP: 15.0406

Note: Courses that have been added or changed in the 2024 curriculum are highlighted.

| Previous | 2019 MS Curriculum Framework |  | Current | 2024 MS Curriculum Framework |  |
| --- | --- | --- | --- | --- | --- |
| SBA 1113 (or SBE 2353) | Solid State Motor Controls Systems | 3 | SBA 1113 (or SBE 2353) | Solid State Motor Controls Systems | 3 |
| SBA 1123 | Fluid Power | 3 | SBA 1123 | Fluid Power | 3 |
| SBA 1133 | Power Distribution | 3 | SBA 1133 | Power Distribution | 3 |
| SBA 1144 or IMM 1934 | Manufacturing Skills Basic | 4 | SBA 1144 or IMM 1934 | Manufacturing Skills Basic | 4 |
| SBA 1163 | Motor Controls Systems | 3 | SBA 1163 | Motor Controls Systems | 3 |
| SBA 1173 (or SBE 2363) | Programmable Logic Controllers | 3 | SBA 1173 (or SBE 2363) | Programmable Logic Controllers | 3 |
| SBA 1213 | Capstone for Systems Based Automation | 3 | SBA 1213 | Capstone for Systems Based Automation | 3 |
| SBA 1223 | Robotics & Automation | 3 | SBA 1223 | Robotics & Automation | 3 |
| SBA 1283 (or IET 1114) | Industrial Instrumentation | 3 | SBA 1283 (or IET 1114) | Industrial Instrumentation | 3 |
| SBA 1313 (or SBE 1113 & 1123) | AC/DC Circuits | 3 | SBA 1313 (or SBE 1113 & 1123) | AC/DC Circuits | 3 |
| SBA 1413 | System Based Digital and Solid State Devices | 3 | SBA 1413 | System Based Digital and Solid State Devices | 3 |
| SBA 1513 | Wiring for System Based Automation | 3 | SBA 1513 | Wiring for System Based Automation | 3 |
| SBA 2113 | Advanced Programmable Logic Controllers/ Data Acquisition | 3 | SBA 2113 | Advanced Programmable Logic Controllers/ Data Acquisition | 3 |
| SBA 2123 (or IET 1314) | Advanced Instrumentation and Process Controls | 3 | SBA 2123 (or IET 1314) | Advanced Instrumentation and Process Controls | 3 |
| SBA 2131-4 | Special Project in System Based Automation | 1-4 | SBA 2131-4 | Special Project in System Based Automation | 1-4 |
| PPT 1513 | Safety Health & Environment | 3 | PPT 1513 | Safety Health & Environment | 3 |
| MNT 2133 | Mechatronics Troubleshooting and Repair | 3 | MNT 2133 | Mechatronics Troubleshooting and Repair | 3 |
| MNT 2344 | CNC/Computer Assisted Manufacturing | 4 | MNT 2344 | CNC/Computer Assisted Manufacturing | 4 |
| MNT 2364 | Industry 4.0 with Data Acquisition | 4 | MNT 2364 | Industry 4.0 with Data Acquisition | 4 |
| IET 2113 | Final Control Devices | 3 | IET 2113 | Final Control Devices | 3 |
| IET 2453 | Troubleshooting and Calibrations | 3 | IET 2453 | Troubleshooting and Calibrations | 3 |

# Appendix D: Recommended Textbooks

Systems Based Automation and Control Textbook List

CIP 15.0406

| Book Title | Author (s) | ISBN |
| --- | --- | --- |
| Systems Level Technician | Wiesenfeld, J. Baldwin, R. Walker, J. Thompson, A. Wiesenfeld, K. Eilers | N/A |
| Cabling: The Complete Guide to Copper and Fiber-Optic Networking, 5E | Andrew Oliviero, Bill Woodward | 978-1-118-80732-3 |
| National Electrical Code, 2017 | National Fire Protection Assn. | 9781455912773 |
| EM Study Guide Series | Karl Eilers |  |
| The Associate CET Study Guide, 6E | Unknown | 1-891749-07-2 9781891749070 |
| Electronic Communications: A System Approach, 1E | J.S. Beasley, J.D. Hymer, G.M. Miller | 978-0132988636 |
| Modern Electronic Communications, 9E | J.S. Beasley, G.M. Miller | 978-0132988636 |
| Technicians Guide to Fiber Optics, 4E | Donald J. Sterling | 1-4018-1270-8 |
| Understanding Fiber Optics, 5E | Jeff Hecht | 978-0131174290 |
| Wiring for Wireless Sites | Ira Wiesenfeld, P.E., CETsr | 978-1-40181037-5 |
| ARRL Handbook, 2017 edition | American Radio Relay League | 978- 1-62595-063-5 |
| Modern Industrial Electronics,5E | Maloney | 978-0130487414 |
| Industrial Electronics: Applications for Programmable Controllers, Instrumentation and Process Control, and Electrical Machines and Motor Controls, 3E | Kissell | 978-0130602411 |
| Solid State Devices and Systems,4E | Rockis | 978-0826916372 |
| Industrial Control Electronics,3E | Bartelt | 978-1401862923 |
| Electrical Systems for Facilities Maintenance Personnel | Mazur | 978- 0826915948 |
| Troubleshooting Electric Motors,4E | Mazur, Proctor | 978-0826917898 |
| Electrical Principles and Practices,3E | Mazur, Zurlis | 978-0826918031 |
| Industrial Motor Control,6E | Herman | 978-1435442399 |
| Printreading for Installing and Troubleshooting Electrical Systems | Mazur, Weindorf | 978-0826920508 |
| Programmable Logic Controllers,4E | Petruzella | 978- 0073510880 |
| Microprocessor and Microcontroller Fundamentals: The 8085 and 8051 Hardware and Software | Kleitz | 978-0132628259 |
| Industrial Electrical Troubleshooting | Lundquist | 978-0766806030 |
| DC/AC Fundamentals: a systems approach | Thomas L. Floyd, David M. Buchla | 0-13-293393-4/2013 |
| McGraw Hill-High Performance Manufacturing | MSSC | 0-07-861487-2/2006 |
| Transformer: Principles and Applications | American Technical Publishers, Inc. | 978-0-8269-1604-4/2006 |
| Fluid Power with Applications | Anthony Esposito-7th ed. | 978-0-13-513690-3/2009 |
| Electric Motors and Control Systems | Frank D. Petruzella-2nd ed. | 978-0-07-337381-2/ 2016 |
| Programmable Logic Controllers | Frank Petruzella-5th ed. | 978-0-07-337384-3/ 2017 |
| Lessons in industrial Instrumentation 1/3 | Tony R. Kuphaldt | 978-9888407088/ 2017 |
| Industrial Maintenance and Mechatronics | Ballee and Shearer | 978-1637767115/2022 |
| Radio-Electronics | Ian Poole | N/A |
| Electronic design | Lou Frenzel | N/A |
| Navy Electricity and Electronics Training Series (NEETS) | N/A | N/A |
| Rockwell Automation Resources | N/A | N/A |
| Digital Loggers | N/A | N/A |
| Automation Federation | N/A | N/A |
| RedLion Resources | N/A | N/A |
| Open-Electronics | N/A | N/A |
| B&B Electronics Learning Center | N/A | N/A |
| Automation World | N/A | N/A |
| Belden Manufacturing Company | N/A | N/A |
| Wikipedia | N/A | N/A |
| ETA International Industry Links and Resources | N/A | N/A |

Southern Association of Colleges and Schools Commission on Colleges. (2024). The Principles of Accreditation: Foundations for Quality Enhancement. Retrieved from  SACSCOC 2024 Accreditation Standards